## Slide 1: Honeybucket Overview in Rural Alaska

## Slide 2: Unserved communities
Unserved community - where 45% or more homes have not been served either via pipe, septic tank & well, or covered haul system.
Of the more than 200 communities in rural Alaska, the 32 unserved communities (March 2019) are located mainly in western Alaska and along the Yukon River and its tributaries.
Information and Map from ADEC Division of Water
Photos Courtesy of AK Dept of Env Conservation

## Slide 3: Unserved communities
Number of occupied houses in the unserved communities ranges from 12 to 193.
Community population sizes range from 50-700 people.
An average of 4 people live in each household and the average household income is $36,329.
Photos Courtesy of AK Dept of Env Conservation

## Slide 4: Video
Honeybucket Blues, Chefornak
https://www.youtube.com/watch?v=8SyT-XeDoK8

## Slide 5: Inside the Home - Honeybucket Contents
In addition to urine, feces, and toilet paper, honeybucket contents can include:
Plastic bags (often)
Pinesol (often)
Bleach
Used cigarettes
Tobacco/spit
Miscellaneous small toys/garbage
Wipes (“flushable” and “non-flushable”)
Photo Courtesy of AK Dept of Env Conservation

## Slide 6: Inside the Home - Honeybucket Contents
Even if asked to keep these items out, most will not change habits.
Sometimes honeybuckets are seen as another garbage can and anything and everything ends up in them.
There are trade-offs with public health that we need to be careful of
Cleaning in and around the honeybucket with bleach is important since these are open sewage buckets
Photo Courtesy of AK Dept of Env Conservation

## Slide 7: Outside the Home - Scenarios
Unserved communities
Served or “piped” communities
Tank haul systems
Urine diversion toilet systems

## Slide 8: Outside the Home - Scenarios
Served or “piped” communities
A served community is one in which more than 55% of homes are served by a piped, septic tank & well, or covered haul system.
107 villages (March 2019)
Most served communities will have a varying number of households using honeybuckets for a variety of reasons (e.g. isolated and not hooked up, can’t pay bill, etc.)
Stats and Photo from ADEC Division of Water

## Slide 9: Outside the Home - Scenarios
Tank-Haul Systems
Used in about a dozen villages (March 2019)
Generally use a ~100 gal water tank inside with grey and black water flowing to an above ground 100 gal tank outside which gets pumped out by an operator.
High operating costs
Many systems don’t work anymore
Photos from ADEC Division of Water

## Slide 10: Water and Sewer System Types

## Slide 11: Honeybucket Disposal Scenarios
Self-haul
Community hoppers
House-to-house collection

## Slide 12: Honeybucket Disposal Scenarios
Self-haul
Individuals transport honeybuckets to the lagoon (or sometimes the landfill)
Spills can occur along the way
Erratic timing on when honeybuckets are hauled
Recent study showed that buckets can sit outside the home waiting to be hauled for an average of 4–13 days, depending on the season. And “the longer human waste sits outside the home, the more likely bags are to get ripped open by the elements or animals, the more likely waste is to spread onto nearby roads and waterways, the more likely pathogens are to attach to dust particles and become airborne, and the more likely humans, especially children, are to come into contact with their contents.” 1
1 Household Water, Sanitation, and Hygiene Practices Impact Pathogen Exposure in Remote, Rural, Unpiped Communities, Authors: Kaitlin J. Mattos, Laura Eichelberger, John Warren, Aaron Dotson, Millie Hawley, Karl G. Linden https://www.liebertpub.com/doi/full/10.1089/ees.2020.0283
Photo Courtesy of AK Dept of Env Conservation

## Slide 13: Honeybucket Disposal Scenarios
Community hoppers
Hoppers are located in a few different locations in the community and residents self-haul to them.
Operators haul full hoppers to the lagoon 1-2 times/wk
Hoppers hold ~100 gallons
Issues with overflow, leakage, freezing and relies on a consistent operator emptying them which isn’t always possible.
Photo Courtesy of AK Dept of Env Conservation

## Slide 14: Honeybucket Disposal Scenarios
House-to-house collection
An operator collects honeybuckets from the front porch of a house and fills a mobile hopper
Operators pick up 1-2 times/wk
Issues with leaking buckets, and in the winter buckets sitting outside for any length of time will freeze.
Photos Courtesy of AK Dept of Env Conservation

## Slide 15: Honeybucket Disposal Scenarios
Photos Courtesy of AK Dept of Env Conservation

## Slide 16: Notes on Digester Location
If placed in a central location in a village (likely less expensive, electricity/water nearby, etc) issues could be:
Odors (close to school, clinics, homes etc)
Kids will play by it
People self-hauling will treat it like the hoppers.
Public health issues
If placed further from town near the lagoon or landfill (likely more expensive, no electricity/water, generator needed?) positives could be:
Less odor worries
If by the lagoon people are used to hauling there
Maintenance could be easier if not in town?

## Slide 17: Notes on operation and costs
Plan to have an operating fund for the project.
Arrange for backup (or even backup to backup) operators
Job turnover is extremely high (in almost every village)
Have a plan to shut down the digester and lock it up if needed
Don’t be surprised if new items are used for target practice (signs, equipment etc).
What might monthly costs be to users?
Feedback from the water/sewer challenge showed that (low) costs were key (no matter how fancy the technology)
People won’t be willing to pay a ton extra - these are not wealthy communities, and people won’t be motivated to pay more. People don’t link subsistence concerns to honeybuckets as much as trash.

## Slide 18: Bags
People won’t change habits. Bags will always show up in honeybucket wastes.
Engineers will need to figure how to deal with bags.
Nome system where they break bags

## Slide 19: Notes on hauling in Interior communities
In the interior communities, unplumbed houses use outhouses in summer.
In the winter, they use honeybuckets indoors and then dump them in outhouses. It’s more convenient for them to use the outhouse vs hauling further away (such as to the digester).
Photo Courtesy of AK Dept of Env Conservation

## Slide 20: Urine Diversion Toilets
ANTHC’s PASS System Pilot
This system was liked the best in the Alaska Water/Sewer Challenge by demonstration villages (and had the lowest operation costs)
Issues with excess liquid line (wasn’t quite worked out, issues with freezing)
Tested in Kivalina, Newtok, Mountain Village
VSW’s Urine Diversion Toilet Pilot
Urine Diversion Toilet with Fan and Separate Urinal connected to a jug that can be capped and carried when full.
No sink or water in this system
Will be tested in Arctic Village and Kongiganak
Zender’s Urine Diversion Toilet Pilot
Tested Nature’s Head Urine diversion toilets in Selawik

## Slide 21: Matrix of Decision Variables
System specific decision variables | Honeybucket community without collection program | Honeybucket community with collection program | Community with isolated honeybucket homes | Community with tank haul | Community piloting urine diversion systems | Hub
Common application potential |  |  |  |  |  | XX
Greatest need |  |  |  |  |  | 
Consistent supply and timing of feedstock | XXX |  |  |  |  | 
Potential of no feedstock contamination | XXX | XXX | XXX | X | X | X
Less need for melting feedstock in winter | XXX | XX | XX |  |  | ?
Lack of dilution of feedstock |  |  |  | XXX |  | 
“ ” is the highest
“x” is the lowest
System Specific Decision Variables

## Slide 22: Matrix of Decision Variables
Community Specific Variables | Best Scenario | Worst Scenario
Ease of Access | Hub | Small Village, no road access, few flights
Least need | Hub, Road Villages, Communities served by some system (tank haul, PASS, Urine Diversion) | Unserved villages in YK Delta
Community readiness | Community that has had a Successful Demonstration Project | Communities overwhelmed with various issues (staff turnover, politics, etc)
Communication | Community with reliable contacts | Communities with history
Broadband | Higher broadband served | Lower broadband served
Community size | Large and small communities – pros and cons to both (wastestream (amt and heterogeneity), economies of scale, vulnerabilities to events, staffing, and pilot volunteers) | Large and small communities – pros and cons to both (wastestream (amt and heterogeneity), economies of scale, vulnerabilities to events, staffing, and pilot volunteers)
Regional Differences | Hub support | No hub support
Climate | Different regions have different winter seasons and temperature differences both during and between seasons – more daily variability and less predictive the further north you go | 
Dog yards | Communities with dog yards | Communities without
Community buy-in | Support from community and Council | No support
Infrastructure | Electrical and water hookup | None
Community Specific Variables

## Slide 23: Video
Honeybucket Blues, Chefornak
https://www.youtube.com/watch?v=8SyT-XeDoK8